## Slide 1
Problem Definition
A fluctuation of neutral-point potential
(due to an NPC type inverter)
The inverter is equivalent to variable resistive loads
3-Phase Inverter
3-level Boost Converter

## Slide 2
Vout = 1190 V

## Slide 3
Operation modes
 | #1 | #2 | #3 | #4
S1 | on | on | off | off
D1 | off | off | on | on
S2 | on | off | on | off
D2 | off | on | off | on
#1
#2
#3
#4
Discharge
C1, C2
Discharge C1
Charge C2
Charge C1
Discharge C2
Charge
C1,C2

## Slide 4
a) D>0.5 b) D<0.5
To reduce unbalance of the neutral-point potential, we can adjust the amount of modes #2 and #3
  Changing phase-shift value
  Giving to S1 and S2
For these two methods, the voltage gain ratio of the boost converter stay the same. ( )

## Slide 5
Phase-Shift
Duty-Cycle Change

## Slide 6
Equal D with unequal resistances

## Slide 7
Added with unequal resistances
Low-frequency ripple of input current and output voltage increases.
Unbalance between the modules is decreased.

## Slide 8
[1] Neutral-Point Potential Balancing of Three-Level Inverters in Direct-Driven Wind Energy Conversion System
[2] Pulse delay control for capacitor voltage balancing in a three-level boost neutral point clamped inverter